## Electrical & Intrumentation
CONSTRUCTION CONTRACT - UNIT RATE SCHEDULES
WBS Level Code | [6 empty] | Description | Unit | Quantity | Composite Rate | Material Cost | Labour Cost | Mhrs/Unit
L1 | L2 | L3 | L4 | L5 | L6 | L7 |  |  |  | Euro | Euro | Euro
ELECTRICAL | bar: WBS Level Code L3
WBS Level Code L4: E01 | Any Material - Contractor to identify any other specific material and type of cables. Additional proposed rates shall be clearly presented (and coded) in a separate table and appendix
WBS Level Code L5: 800 | Supply & Install High Voltage (H.V) Cable including cable support system and all necessary fixing and marking
WBS Level Code L6: 001 | Single Core (11KV)
WBS Level Code L7: 400 | 400mm2 | m | 1
WBS Level Code L7: 500 | 500mm2 | m | 1
WBS Level Code L7: 630 | 630mm2 | m | 1
WBS Level Code L7: 800 | 800mm2 | m | 1
WBS Level Code L6: 002 | Single Core (33KV)
WBS Level Code L7: 185 | 185mm2 | m | 1
WBS Level Code L7: 400 | 400mm2 | m | 1
WBS Level Code L7: 500 | 500mm2 | m | 1
WBS Level Code L7: 630 | 630mm2 | m | 1
WBS Level Code L7: 800 | 800mm2 | m | 1
WBS Level Code L6: 003 | Multi Core (11KV)
Three Core
WBS Level Code L7: 025 | 3 core, 25mm2 | m | 1
WBS Level Code L7: 035 | 3 core, 35mm2 | m | 1
WBS Level Code L7: 045 | 3 core, 45mm2 | m | 1
WBS Level Code L7: 070 | 3 core, 70mm2 | m | 1
WBS Level Code L7: 095 | 3 core, 95mm2 | m | 1
WBS Level Code L7: 120 | 3 core, 120mm2 | m | 1
WBS Level Code L7: 150 | 3 core, 150mm2 | m | 1
ELECTRICAL HV CABLE TERMINATION
WBS Level Code L5: 801 | H.V Cable - Terminations and Testing of electrical cables including termination kit
WBS Level Code L6: 001 | Single Core (11KV)
WBS Level Code L7: 400 | 400mm2 | no | 1
WBS Level Code L7: 500 | 500mm2 | no | 1
WBS Level Code L7: 630 | 630mm2 | no | 1
WBS Level Code L7: 800 | 800mm2 | no | 1
WBS Level Code L6: 002 | Single Core (33KV)
WBS Level Code L7: 185 | 185mm2 | no | 1
WBS Level Code L7: 400 | 400mm2 | no | 1
WBS Level Code L7: 500 | 500mm2 | no | 1
WBS Level Code L7: 630 | 630mm2 | no | 1
WBS Level Code L7: 800 | 800mm2 | no | 1
WBS Level Code L6: 001 | Multi Core Core (11KV)
Three Core
WBS Level Code L7: 025 | 3 core, 25mm2 | no | 1
WBS Level Code L7: 035 | 3 core, 35mm2 | no | 1
WBS Level Code L7: 045 | 3 core, 45mm2 | no | 1
WBS Level Code L7: 070 | 3 core, 70mm2 | no | 1
WBS Level Code L7: 095 | 3 core, 95mm2 | no | 1
WBS Level Code L7: 120 | 3 core, 120mm2 | no | 1
WBS Level Code L7: 150 | 3 core, 150mm2 | no | 1
ELECTRICAL HV CABLE GLANDS
WBS Level Code L5: 802 | H.V Cable - Cable Glands
WBS Level Code L6: 001 | Single Core (11KV)
WBS Level Code L7: 400 | 400mm2 | no | 1
WBS Level Code L7: 500 | 500mm2 | no | 1
WBS Level Code L7: 630 | 630mm2 | no | 1
WBS Level Code L7: 800 | 800mm2 | no | 1
WBS Level Code L6: 002 | Single Core (33KV)
WBS Level Code L7: 185 | 185mm2 | no | 1
WBS Level Code L7: 400 | 400mm2 | no | 1
WBS Level Code L7: 500 | 500mm2 | no | 1
WBS Level Code L7: 630 | 630mm2 | no | 1
WBS Level Code L7: 800 | 800mm2 | no | 1
WBS Level Code L6: 001 | Multi Core Core (11KV)
Three Core
WBS Level Code L7: 025 | 3 core, 25mm2 | no | 1
WBS Level Code L7: 035 | 3 core, 35mm2 | no | 1
WBS Level Code L7: 045 | 3 core, 45mm2 | no | 1
WBS Level Code L7: 070 | 3 core, 70mm2 | no | 1
WBS Level Code L7: 095 | 3 core, 95mm2 | no | 1
WBS Level Code L7: 120 | 3 core, 120mm2 | no | 1
WBS Level Code L7: 150 | 3 core, 150mm2 | no | 1
WBS Level Code L5: 803 | Supply & Install Low Voltage (L.V) Cable including cable support system and all necessary fixing and marking
WBS Level Code L6: 001 | LV Power Cables Single Core
WBS Level Code L7: 001 | 1mm² | m | 1
WBS Level Code L7: 002 | 1.5mm² | m | 1
WBS Level Code L7: 003 | 2.5mm² | m | 1
WBS Level Code L7: 004 | 4.0mm² | m | 1
WBS Level Code L7: 006 | 6.0mm² | m | 1
WBS Level Code L7: 010 | 10.0mm² | m | 1
WBS Level Code L7: 016 | 16.0mm² | m | 1
WBS Level Code L7: 025 | 25.0mm² | m | 1
WBS Level Code L7: 035 | 35.0mm² | m | 1
WBS Level Code L7: 050 | 50.0mm² | m | 1
WBS Level Code L7: 070 | 70.0mm² | m | 1
WBS Level Code L7: 095 | 95.0mm² | m | 1
WBS Level Code L7: 120 | 120 mm² | m | 1
WBS Level Code L7: 150 | 150 mm² | m | 1
WBS Level Code L7: 185 | 185 mm² | m | 1
WBS Level Code L7: 240 | 240 mm² | m | 1
WBS Level Code L7: 300 | 300 mm² | m | 1
WBS Level Code L7: 400 | 400 mm² | m | 1
WBS Level Code L7: 500 | 500 mm² | m | 1
WBS Level Code L7: 630 | 630 mm² | m | 1
WBS Level Code L6: 002 | LV Control Cables Two Core
WBS Level Code L7: 001 | 1mm² | m | 1
WBS Level Code L7: 002 | 1.5mm² | m | 1
WBS Level Code L7: 003 | 2.5mm² | m | 1
WBS Level Code L7: 004 | 4.0mm² | m | 1
WBS Level Code L7: 006 | 6.0mm² | m | 1
WBS Level Code L7: 010 | 10.0mm² | m | 1
WBS Level Code L7: 016 | 16.0mm² | m | 1
WBS Level Code L7: 025 | 25.0mm² | m | 1
WBS Level Code L7: 035 | 35.0mm² | m | 1
WBS Level Code L7: 050 | 50.0mm² | m | 1
WBS Level Code L7: 070 | 70.0mm² | m | 1
WBS Level Code L7: 095 | 95.0mm² | m | 1
WBS Level Code L7: 120 | 120 mm² | m | 1
WBS Level Code L7: 150 | 150 mm² | m | 1
WBS Level Code L7: 185 | 185 mm² | m | 1
WBS Level Code L7: 240 | 240 mm² | m | 1
WBS Level Code L7: 300 | 300 mm² | m | 1
WBS Level Code L7: 400 | 400 mm² | m | 1
WBS Level Code L7: 500 | 500 mm² | m | 1
WBS Level Code L7: 630 | 630 mm² | m | 1
WBS Level Code L6: 003 | LV Control Cables Three Core
WBS Level Code L7: 001 | 1mm² | m | 1
WBS Level Code L7: 002 | 1.5mm² | m | 1
WBS Level Code L7: 003 | 2.5mm² | m | 1
WBS Level Code L7: 004 | 4.0mm² | m | 1
WBS Level Code L7: 006 | 6.0mm² | m | 1
WBS Level Code L7: 010 | 10.0mm² | m | 1
WBS Level Code L7: 016 | 16.0mm² | m | 1
WBS Level Code L7: 025 | 25.0mm² | m | 1
WBS Level Code L7: 035 | 35.0mm² | m | 1
WBS Level Code L7: 050 | 50.0mm² | m | 1
WBS Level Code L7: 070 | 70.0mm² | m | 1
WBS Level Code L7: 095 | 95.0mm² | m | 1
WBS Level Code L7: 120 | 120 mm² | m | 1
WBS Level Code L7: 150 | 150 mm² | m | 1
WBS Level Code L7: 185 | 185 mm² | m | 1
WBS Level Code L7: 240 | 240 mm² | m | 1
WBS Level Code L7: 300 | 300 mm² | m | 1
WBS Level Code L7: 400 | 400 mm² | m | 1
WBS Level Code L7: 500 | 500 mm² | m | 1
WBS Level Code L7: 630 | 630 mm² | m | 1
WBS Level Code L6: 004 | LV Control Cables Four Core
WBS Level Code L7: 001 | 1mm² | m | 1
WBS Level Code L7: 002 | 1.5mm² | m | 1
WBS Level Code L7: 003 | 2.5mm² | m | 1
WBS Level Code L7: 004 | 4.0mm² | m | 1
WBS Level Code L7: 006 | 6.0mm² | m | 1
WBS Level Code L7: 010 | 10.0mm² | m | 1
WBS Level Code L7: 016 | 16.0mm² | m | 1
WBS Level Code L7: 025 | 25.0mm² | m | 1
WBS Level Code L7: 035 | 35.0mm² | m | 1
WBS Level Code L7: 050 | 50.0mm² | m | 1
WBS Level Code L7: 070 | 70.0mm² | m | 1
WBS Level Code L7: 095 | 95.0mm² | m | 1
WBS Level Code L7: 120 | 120 mm² | m | 1
WBS Level Code L7: 150 | 150 mm² | m | 1
WBS Level Code L7: 185 | 185 mm² | m | 1
WBS Level Code L6: 005 | LV Control Cables Eight Core
WBS Level Code L7: 001 | 1mm² | m | 1
WBS Level Code L7: 002 | 1.5mm² | m | 1
WBS Level Code L7: 003 | 2.5mm² | m | 1
WBS Level Code L7: 004 | 4.0mm² | m | 1
WBS Level Code L6: 006 | LV Control Cables Ten Core
WBS Level Code L7: 001 | 1mm² | m | 1
WBS Level Code L7: 002 | 1.5mm² | m | 1
WBS Level Code L7: 003 | 2.5mm² | m | 1
WBS Level Code L7: 004 | 4.0mm² | m | 1
WBS Level Code L6: 007 | LV Control Cables Twelve Core
WBS Level Code L7: 001 | 1mm² | m | 1
WBS Level Code L7: 002 | 1.5mm² | m | 1
WBS Level Code L7: 003 | 2.5mm² | m | 1
WBS Level Code L7: 004 | 4.0mm² | m | 1
WBS Level Code L6: 008 | LV Control Cables Twenty Core
WBS Level Code L7: 001 | 1mm² | m | 1
WBS Level Code L7: 002 | 1.5mm² | m | 1
WBS Level Code L7: 003 | 2.5mm² | m | 1
WBS Level Code L7: 004 | 4.0mm² | m | 1
WBS Level Code L6: 009 | LV Power & Lighting Cables - Two Core
WBS Level Code L7: 001 | 1.5mm² | m | 1
WBS Level Code L7: 003 | 2.5mm² | m | 1
WBS Level Code L7: 004 | 4.0mm² | m | 1
WBS Level Code L7: 006 | 6.0mm² | m | 1
WBS Level Code L7: 010 | 10mm2 | m | 1
WBS Level Code L6: 010 | LV Power & Lighting Cables - Three Core
WBS Level Code L7: 004 | 4.0mm² | m | 1
WBS Level Code L7: 006 | 6.0mm² | m | 1
WBS Level Code L7: 010 | 10mm2 | m | 1
WBS Level Code L7: 012 | 12mm2 | m | 1
WBS Level Code L7: 016 | 16mm2 | m | 1
WBS Level Code L7: 035 | 35.0mm² | m | 1
WBS Level Code L7: 050 | 50.0mm² | m | 1
WBS Level Code L7: 070 | 70.0mm² | m | 1
WBS Level Code L7: 095 | 95.0mm² | m | 1
WBS Level Code L7: 120 | 120 mm² | m | 1
WBS Level Code L7: 150 | 150 mm² | m | 1
WBS Level Code L7: 185 | 185 mm² | m | 1
WBS Level Code L6: 011 | LV Power & Lighting Cables - Four Core
WBS Level Code L7: 004 | 4.0mm² | m | 1
WBS Level Code L7: 006 | 6.0mm² | m | 1
WBS Level Code L7: 010 | 10mm2 | m | 1
WBS Level Code L7: 012 | 12mm2 | m | 1
WBS Level Code L7: 016 | 16mm2 | m | 1
WBS Level Code L7: 035 | 35.0mm² | m | 1
WBS Level Code L7: 050 | 50.0mm² | m | 1
WBS Level Code L7: 070 | 70.0mm² | m | 1
WBS Level Code L7: 095 | 95.0mm² | m | 1
WBS Level Code L7: 120 | 120 mm² | m | 1
WBS Level Code L7: 150 | 150 mm² | m | 1
WBS Level Code L7: 185 | 185 mm² | m | 1
WBS Level Code L6: 012 | LV Power Cable for VSD Motors - Three Core
WBS Level Code L7: 004 | 4.0mm² | m | 1
WBS Level Code L7: 006 | 6.0mm² | m | 1
WBS Level Code L7: 010 | 10mm2 | m | 1
WBS Level Code L7: 012 | 12mm2 | m | 1
WBS Level Code L7: 016 | 16mm2 | m | 1
WBS Level Code L7: 035 | 35.0mm² | m | 1
WBS Level Code L7: 050 | 50.0mm² | m | 1
WBS Level Code L7: 070 | 70.0mm² | m | 1
WBS Level Code L7: 095 | 95.0mm² | m | 1
WBS Level Code L7: 120 | 120 mm² | m | 1
WBS Level Code L7: 150 | 150 mm² | m | 1
WBS Level Code L7: 185 | 185 mm² | m | 1
WBS Level Code L6: 013 | LV Fire Resistant Power Cables Two Core
WBS Level Code L7: 002 | 2.0mm2 | m | 1
WBS Level Code L7: 004 | 4.0mm² | m | 1
WBS Level Code L7: 006 | 6.0mm² | m | 1
WBS Level Code L6: 014 | LV Fire Resistant Power Cables Three Core
WBS Level Code L7: 001 | 2.0mm2 | m | 1
WBS Level Code L7: 002 | 4.0mm² | m | 1
WBS Level Code L7: 003 | 6.0mm² | m | 1
WBS Level Code L6: 015 | LV Fire Resistant Power Cables Four Core | m | 1
WBS Level Code L7: 002 | 2.0mm2 | m | 1
WBS Level Code L7: 004 | 4.0mm² | m | 1
WBS Level Code L7: 006 | 6.0mm² | m | 1
WBS Level Code L7: 010 | 10mm2 | m | 1
WBS Level Code L7: 012 | 12mm2 | m | 1
WBS Level Code L7: 016 | 16mm2 | m | 1
ELECTRICAL LV CABLE TERMINATION
WBS Level Code L5: 804 | L.V Cable - Terminations and Testing of cables including termination kit
WBS Level Code L6: 001 | LV Power Cables Single Core
WBS Level Code L7: 001 | 1mm² | no | 1
WBS Level Code L7: 002 | 1.5mm² | no | 1
WBS Level Code L7: 003 | 2.5mm² | no | 1
WBS Level Code L7: 004 | 4.0mm² | no | 1
WBS Level Code L7: 006 | 6.0mm² | no | 1
WBS Level Code L7: 010 | 10.0mm² | no | 1
WBS Level Code L7: 016 | 16.0mm² | no | 1
WBS Level Code L7: 025 | 25.0mm² | no | 1
WBS Level Code L7: 035 | 35.0mm² | no | 1
WBS Level Code L7: 050 | 50.0mm² | no | 1
WBS Level Code L7: 070 | 70.0mm² | no | 1
WBS Level Code L7: 095 | 95.0mm² | no | 1
WBS Level Code L7: 120 | 120 mm² | no | 1
WBS Level Code L7: 150 | 150 mm² | no | 1
WBS Level Code L7: 185 | 185 mm² | no | 1
WBS Level Code L7: 240 | 240 mm² | no | 1
WBS Level Code L7: 300 | 300 mm² | no | 1
WBS Level Code L7: 400 | 400 mm² | no | 1
WBS Level Code L7: 500 | 500 mm² | no | 1
WBS Level Code L7: 630 | 630 mm² | no | 1
WBS Level Code L6: 002 | LV Control Cables Two Core
WBS Level Code L7: 001 | 1mm² | no | 1
WBS Level Code L7: 002 | 1.5mm² | no | 1
WBS Level Code L7: 003 | 2.5mm² | no | 1
WBS Level Code L7: 004 | 4.0mm² | no | 1
WBS Level Code L7: 006 | 6.0mm² | no | 1
WBS Level Code L7: 010 | 10.0mm² | no | 1
WBS Level Code L7: 016 | 16.0mm² | no | 1
WBS Level Code L7: 025 | 25.0mm² | no | 1
WBS Level Code L7: 035 | 35.0mm² | no | 1
WBS Level Code L7: 050 | 50.0mm² | no | 1
WBS Level Code L7: 070 | 70.0mm² | no | 1
WBS Level Code L7: 095 | 95.0mm² | no | 1
WBS Level Code L7: 120 | 120 mm² | no | 1
WBS Level Code L7: 150 | 150 mm² | no | 1
WBS Level Code L7: 185 | 185 mm² | no | 1
WBS Level Code L7: 240 | 240 mm² | no | 1
WBS Level Code L7: 300 | 300 mm² | no | 1
WBS Level Code L7: 400 | 400 mm² | no | 1
WBS Level Code L7: 500 | 500 mm² | no | 1
WBS Level Code L7: 630 | 630 mm² | no | 1
WBS Level Code L6: 003 | LV Control Cables Three Core
WBS Level Code L7: 001 | 1mm² | no | 1
WBS Level Code L7: 002 | 1.5mm² | no | 1
WBS Level Code L7: 003 | 2.5mm² | no | 1
WBS Level Code L7: 004 | 4.0mm² | no | 1
WBS Level Code L7: 006 | 6.0mm² | no | 1
WBS Level Code L7: 010 | 10.0mm² | no | 1
WBS Level Code L7: 016 | 16.0mm² | no | 1
WBS Level Code L7: 025 | 25.0mm² | no | 1
WBS Level Code L7: 035 | 35.0mm² | no | 1
WBS Level Code L7: 050 | 50.0mm² | no | 1
WBS Level Code L7: 070 | 70.0mm² | no | 1
WBS Level Code L7: 095 | 95.0mm² | no | 1
WBS Level Code L7: 120 | 120 mm² | no | 1
WBS Level Code L7: 150 | 150 mm² | no | 1
WBS Level Code L7: 185 | 185 mm² | no | 1
WBS Level Code L7: 240 | 240 mm² | no | 1
WBS Level Code L7: 300 | 300 mm² | no | 1
WBS Level Code L7: 400 | 400 mm² | no | 1
WBS Level Code L7: 500 | 500 mm² | no | 1
WBS Level Code L7: 630 | 630 mm² | no | 1
WBS Level Code L6: 004 | LV Control Cables Four Core
WBS Level Code L7: 001 | 1mm² | no | 1
WBS Level Code L7: 002 | 1.5mm² | no | 1
WBS Level Code L7: 003 | 2.5mm² | no | 1
WBS Level Code L7: 004 | 4.0mm² | no | 1
WBS Level Code L7: 006 | 6.0mm² | no | 1
WBS Level Code L7: 010 | 10.0mm² | no | 1
WBS Level Code L7: 016 | 16.0mm² | no | 1
WBS Level Code L7: 025 | 25.0mm² | no | 1
WBS Level Code L7: 035 | 35.0mm² | no | 1
WBS Level Code L7: 050 | 50.0mm² | no | 1
WBS Level Code L7: 070 | 70.0mm² | no | 1
WBS Level Code L7: 095 | 95.0mm² | no | 1
WBS Level Code L7: 120 | 120 mm² | no | 1
WBS Level Code L7: 150 | 150 mm² | no | 1
WBS Level Code L7: 185 | 185 mm² | no | 1
WBS Level Code L6: 005 | LV Control Cables Eight Core
WBS Level Code L7: 001 | 1mm² | no | 1
WBS Level Code L7: 002 | 1.5mm² | no | 1
WBS Level Code L7: 003 | 2.5mm² | no | 1
WBS Level Code L7: 004 | 4.0mm² | no | 1
WBS Level Code L6: 006 | LV Control Cables Ten Core |  | 1
WBS Level Code L7: 001 | 1mm² | no | 1
WBS Level Code L7: 002 | 1.5mm² | no | 1
WBS Level Code L7: 003 | 2.5mm² | no | 1
WBS Level Code L7: 004 | 4.0mm² | no | 1
WBS Level Code L6: 007 | LV Control Cables Twelve Core
WBS Level Code L7: 001 | 1mm² | no | 1
WBS Level Code L7: 002 | 1.5mm² | no | 1
WBS Level Code L7: 003 | 2.5mm² | no | 1
WBS Level Code L7: 004 | 4.0mm² | no | 1
WBS Level Code L6: 008 | LV Control Cables Twenty Core
WBS Level Code L7: 001 | 1mm² | no | 1
WBS Level Code L7: 002 | 1.5mm² | no | 1
WBS Level Code L7: 003 | 2.5mm² | no | 1
WBS Level Code L7: 004 | 4.0mm² | no | 1
WBS Level Code L6: 009 | LV Power & Lighting Cables - Two Core
WBS Level Code L7: 001 | 1.5mm² | no | 1
WBS Level Code L7: 002 | 2.5mm² | no | 1
WBS Level Code L7: 004 | 4.0mm² | no | 1
WBS Level Code L7: 006 | 6.0mm² | no | 1
WBS Level Code L7: 010 | 10mm2 | no | 1
WBS Level Code L6: 010 | LV Power & Lighting Cables - Three Core
WBS Level Code L7: 004 | 4.0mm² | no | 1
WBS Level Code L7: 006 | 6.0mm² | no | 1
WBS Level Code L7: 010 | 10mm2 | no | 1
WBS Level Code L7: 012 | 12mm2 | no | 1
WBS Level Code L7: 016 | 16mm2 | no | 1
WBS Level Code L7: 035 | 35.0mm² | no | 1
WBS Level Code L7: 050 | 50.0mm² | no | 1
WBS Level Code L7: 070 | 70.0mm² | no | 1
WBS Level Code L7: 095 | 95.0mm² | no | 1
WBS Level Code L7: 120 | 120 mm² | no | 1
WBS Level Code L7: 150 | 150 mm² | no | 1
WBS Level Code L7: 185 | 185 mm² | no | 1
WBS Level Code L6: 011 | LV Power & Lighting Cables - Four Core
WBS Level Code L7: 004 | 4.0mm² | no | 1
WBS Level Code L7: 006 | 6.0mm² | no | 1
WBS Level Code L7: 010 | 10mm2 | no | 1
WBS Level Code L7: 012 | 12mm2 | no | 1
WBS Level Code L7: 016 | 16mm2 | no | 1
WBS Level Code L7: 035 | 35.0mm² | no | 1
WBS Level Code L7: 050 | 50.0mm² | no | 1
WBS Level Code L7: 070 | 70.0mm² | no | 1
WBS Level Code L7: 095 | 95.0mm² | no | 1
WBS Level Code L7: 120 | 120 mm² | no | 1
WBS Level Code L7: 150 | 150 mm² | no | 1
WBS Level Code L7: 185 | 185 mm² | no | 1
WBS Level Code L6: 012 | LV Power Cable for VSD Motors - Three Core
WBS Level Code L7: 004 | 4.0mm² | no | 1
WBS Level Code L7: 006 | 6.0mm² | no | 1
WBS Level Code L7: 010 | 10mm2 | no | 1
WBS Level Code L7: 012 | 12mm2 | no | 1
WBS Level Code L7: 016 | 16mm2 | no | 1
WBS Level Code L7: 035 | 35.0mm² | no | 1
WBS Level Code L7: 050 | 50.0mm² | no | 1
WBS Level Code L7: 070 | 70.0mm² | no | 1
WBS Level Code L7: 095 | 95.0mm² | no | 1
WBS Level Code L7: 120 | 120 mm² | no | 1
WBS Level Code L7: 150 | 150 mm² | no | 1
WBS Level Code L7: 185 | 185 mm² | no | 1
WBS Level Code L6: 013 | LV Fire Resistant Power Cables Two Core
WBS Level Code L7: 002 | 2.0mm2 | no | 1
WBS Level Code L7: 004 | 4.0mm² | no | 1
WBS Level Code L7: 006 | 6.0mm² | no | 1
WBS Level Code L6: 014 | LV Fire Resistant Power Cables Three Core
WBS Level Code L7: 002 | 2.0mm2 | no | 1
WBS Level Code L7: 004 | 4.0mm² | no | 1
WBS Level Code L7: 006 | 6.0mm² | no | 1
WBS Level Code L6: 015 | LV Fire Resistant Power Cables Four Core
WBS Level Code L7: 002 | 2.0mm2 | no | 1
WBS Level Code L7: 004 | 4.0mm² | no | 1
WBS Level Code L7: 006 | 6.0mm² | no | 1
WBS Level Code L7: 010 | 10mm2 | no | 1
WBS Level Code L7: 012 | 12mm2 | no | 1
WBS Level Code L7: 016 | 16mm2 | no | 1
ELECTRICAL LV CABLE GLANDS
WBS Level Code L5: 805 | L.V Cable - Cable Glands
WBS Level Code L6: 001 | LV Power Cables Single Core
WBS Level Code L7: 001 | 1mm² | no | 1
WBS Level Code L7: 002 | 1.5mm² | no | 1
WBS Level Code L7: 003 | 2.5mm² | no | 1
WBS Level Code L7: 004 | 4.0mm² | no | 1
WBS Level Code L7: 006 | 6.0mm² | no | 1
WBS Level Code L7: 010 | 10.0mm² | no | 1
WBS Level Code L7: 016 | 16.0mm² | no | 1
WBS Level Code L7: 025 | 25.0mm² | no | 1
WBS Level Code L7: 035 | 35.0mm² | no | 1
WBS Level Code L7: 050 | 50.0mm² | no | 1
WBS Level Code L7: 070 | 70.0mm² | no | 1
WBS Level Code L7: 095 | 95.0mm² | no | 1
WBS Level Code L7: 120 | 120 mm² | no | 1
WBS Level Code L7: 150 | 150 mm² | no | 1
WBS Level Code L7: 185 | 185 mm² | no | 1
WBS Level Code L7: 240 | 240 mm² | no | 1
WBS Level Code L7: 300 | 300 mm² | no | 1
WBS Level Code L7: 400 | 400 mm² | no | 1
WBS Level Code L7: 500 | 500 mm² | no | 1
WBS Level Code L7: 630 | 630 mm² | no | 1
WBS Level Code L6: 002 | LV Control Cables Two Core
WBS Level Code L7: 001 | 1mm² | no | 1
WBS Level Code L7: 002 | 1.5mm² | no | 1
WBS Level Code L7: 003 | 2.5mm² | no | 1
WBS Level Code L7: 004 | 4.0mm² | no | 1
WBS Level Code L7: 006 | 6.0mm² | no | 1
WBS Level Code L7: 010 | 10.0mm² | no | 1
WBS Level Code L7: 016 | 16.0mm² | no | 1
WBS Level Code L7: 025 | 25.0mm² | no | 1
WBS Level Code L7: 035 | 35.0mm² | no | 1
WBS Level Code L7: 050 | 50.0mm² | no | 1
WBS Level Code L7: 070 | 70.0mm² | no | 1
WBS Level Code L7: 095 | 95.0mm² | no | 1
WBS Level Code L7: 120 | 120 mm² | no | 1
WBS Level Code L7: 150 | 150 mm² | no | 1
WBS Level Code L7: 185 | 185 mm² | no | 1
WBS Level Code L7: 240 | 240 mm² | no | 1
WBS Level Code L7: 300 | 300 mm² | no | 1
WBS Level Code L7: 400 | 400 mm² | no | 1
WBS Level Code L7: 500 | 500 mm² | no | 1
WBS Level Code L7: 630 | 630 mm² | no | 1
WBS Level Code L6: 003 | LV Control Cables Three Core
WBS Level Code L7: 001 | 1mm² | no | 1
WBS Level Code L7: 002 | 1.5mm² | no | 1
WBS Level Code L7: 003 | 2.5mm² | no | 1
WBS Level Code L7: 004 | 4.0mm² | no | 1
WBS Level Code L7: 006 | 6.0mm² | no | 1
WBS Level Code L7: 010 | 10.0mm² | no | 1
WBS Level Code L7: 016 | 16.0mm² | no | 1
WBS Level Code L7: 025 | 25.0mm² | no | 1
WBS Level Code L7: 035 | 35.0mm² | no | 1
WBS Level Code L7: 050 | 50.0mm² | no | 1
WBS Level Code L7: 070 | 70.0mm² | no | 1
WBS Level Code L7: 095 | 95.0mm² | no | 1
WBS Level Code L7: 120 | 120 mm² | no | 1
WBS Level Code L7: 150 | 150 mm² | no | 1
WBS Level Code L7: 185 | 185 mm² | no | 1
WBS Level Code L7: 240 | 240 mm² | no | 1
WBS Level Code L7: 300 | 300 mm² | no | 1
WBS Level Code L7: 400 | 400 mm² | no | 1
WBS Level Code L7: 500 | 500 mm² | no | 1
WBS Level Code L7: 630 | 630 mm² | no | 1
WBS Level Code L6: 004 | LV Control Cables Four Core
WBS Level Code L7: 001 | 1mm² | no | 1
WBS Level Code L7: 002 | 1.5mm² | no | 1
WBS Level Code L7: 003 | 2.5mm² | no | 1
WBS Level Code L7: 004 | 4.0mm² | no | 1
WBS Level Code L7: 006 | 6.0mm² | no | 1
WBS Level Code L7: 010 | 10.0mm² | no | 1
WBS Level Code L7: 016 | 16.0mm² | no | 1
WBS Level Code L7: 025 | 25.0mm² | no | 1
WBS Level Code L7: 035 | 35.0mm² | no | 1
WBS Level Code L7: 050 | 50.0mm² | no | 1
WBS Level Code L7: 070 | 70.0mm² | no | 1
WBS Level Code L7: 095 | 95.0mm² | no | 1
WBS Level Code L7: 120 | 120 mm² | no | 1
WBS Level Code L7: 150 | 150 mm² | no | 1
WBS Level Code L7: 185 | 185 mm² | no | 1
WBS Level Code L6: 005 | LV Control Cables Eight Core
WBS Level Code L7: 001 | 1mm² | no | 1
WBS Level Code L7: 002 | 1.5mm² | no | 1
WBS Level Code L7: 003 | 2.5mm² | no | 1
WBS Level Code L7: 004 | 4.0mm² | no | 1
WBS Level Code L6: 006 | LV Control Cables Ten Core |  | 1
WBS Level Code L7: 001 | 1mm² | no | 1
WBS Level Code L7: 002 | 1.5mm² | no | 1
WBS Level Code L7: 003 | 2.5mm² | no | 1
WBS Level Code L7: 004 | 4.0mm² | no | 1
WBS Level Code L6: 007 | LV Control Cables Twelve Core
WBS Level Code L7: 001 | 1mm² | no | 1
WBS Level Code L7: 002 | 1.5mm² | no | 1
WBS Level Code L7: 003 | 2.5mm² | no | 1
WBS Level Code L7: 004 | 4.0mm² | no | 1
WBS Level Code L6: 008 | LV Control Cables Twenty Core
WBS Level Code L7: 001 | 1mm² | no | 1
WBS Level Code L7: 002 | 1.5mm² | no | 1
WBS Level Code L7: 003 | 2.5mm² | no | 1
WBS Level Code L7: 004 | 4.0mm² | no | 1
WBS Level Code L6: 009 | LV Power & Lighting Cables - Two Core
WBS Level Code L7: 001 | 1.5mm² | no | 1
WBS Level Code L7: 002 | 2.5mm² | no | 1
WBS Level Code L7: 004 | 4.0mm² | no | 1
WBS Level Code L7: 006 | 6.0mm² | no | 1
WBS Level Code L7: 010 | 10mm2 | no | 1
WBS Level Code L6: 010 | LV Power & Lighting Cables - Three Core
WBS Level Code L7: 004 | 4.0mm² | no | 1
WBS Level Code L7: 006 | 6.0mm² | no | 1
WBS Level Code L7: 010 | 10mm2 | no | 1
WBS Level Code L7: 012 | 12mm2 | no | 1
WBS Level Code L7: 016 | 16mm2 | no | 1
WBS Level Code L7: 035 | 35.0mm² | no | 1
WBS Level Code L7: 050 | 50.0mm² | no | 1
WBS Level Code L7: 070 | 70.0mm² | no | 1
WBS Level Code L7: 095 | 95.0mm² | no | 1
WBS Level Code L7: 120 | 120 mm² | no | 1
WBS Level Code L7: 150 | 150 mm² | no | 1
WBS Level Code L7: 185 | 185 mm² | no | 1
WBS Level Code L6: 011 | LV Power & Lighting Cables - Four Core
WBS Level Code L7: 004 | 4.0mm² | no | 1
WBS Level Code L7: 006 | 6.0mm² | no | 1
WBS Level Code L7: 010 | 10mm2 | no | 1
WBS Level Code L7: 012 | 12mm2 | no | 1
WBS Level Code L7: 016 | 16mm2 | no | 1
WBS Level Code L7: 035 | 35.0mm² | no | 1
WBS Level Code L7: 050 | 50.0mm² | no | 1
WBS Level Code L7: 070 | 70.0mm² | no | 1
WBS Level Code L7: 095 | 95.0mm² | no | 1
WBS Level Code L7: 120 | 120 mm² | no | 1
WBS Level Code L7: 150 | 150 mm² | no | 1
WBS Level Code L7: 185 | 185 mm² | no | 1
WBS Level Code L6: 012 | LV Power Cable for VSD Motors - Three Core
WBS Level Code L7: 004 | 4.0mm² | no | 1
WBS Level Code L7: 006 | 6.0mm² | no | 1
WBS Level Code L7: 010 | 10mm2 | no | 1
WBS Level Code L7: 012 | 12mm2 | no | 1
WBS Level Code L7: 016 | 16mm2 | no | 1
WBS Level Code L7: 035 | 35.0mm² | no | 1
WBS Level Code L7: 050 | 50.0mm² | no | 1
WBS Level Code L7: 070 | 70.0mm² | no | 1
WBS Level Code L7: 095 | 95.0mm² | no | 1
WBS Level Code L7: 120 | 120 mm² | no | 1
WBS Level Code L7: 150 | 150 mm² | no | 1
WBS Level Code L7: 185 | 185 mm² | no | 1
WBS Level Code L6: 013 | LV Fire Resistant Power Cables Two Core
WBS Level Code L7: 002 | 2.0mm2 | no | 1
WBS Level Code L7: 004 | 4.0mm² | no | 1
WBS Level Code L7: 006 | 6.0mm² | no | 1
WBS Level Code L6: 014 | LV Fire Resistant Power Cables Three Core
WBS Level Code L7: 002 | 2.0mm2 | no | 1
WBS Level Code L7: 004 | 4.0mm² | no | 1
WBS Level Code L7: 006 | 6.0mm² | no | 1
WBS Level Code L6: 015 | LV Fire Resistant Power Cables Four Core
WBS Level Code L7: 002 | 2.0mm2 | no | 1
WBS Level Code L7: 004 | 4.0mm² | no | 1
WBS Level Code L7: 006 | 6.0mm² | no | 1
WBS Level Code L7: 010 | 10mm2 | no | 1
WBS Level Code L7: 012 | 12mm2 | no | 1
WBS Level Code L7: 016 | 16mm2 | no | 1
INSTRUMENTATION | bar: WBS Level Code L3
WBS Level Code L4: I01 | Any Material - Contractor to identify any other specific material and type of cables. Additional proposed rates shall be clearly presented (and coded) in a separate table and appendix
WBS Level Code L5: 820 | Supply & Install Instrument Signal Cables
WBS Level Code L6: 001 | A81
WBS Level Code L7: 001 | 2x2x2.5mm2 | m | 1
WBS Level Code L6: 002 | A85
WBS Level Code L7: 002 | 1x2x1.5mm2 | m | 1
WBS Level Code L6: 003 | A87
WBS Level Code L7: 003 | 1x2x1.5mm2 | m | 1
WBS Level Code L6: 004 | A91/A
WBS Level Code L7: 004 | 2x2x2.5mm2 | m | 1
WBS Level Code L6: 005 | A92/A
WBS Level Code L7: 005 | 1x2x1.5mm2 | m | 1
WBS Level Code L6: 006 | A93/A
WBS Level Code L7: 006 | 1x2x1.5mm2 | m | 1
WBS Level Code L6: 007 | A94/A
WBS Level Code L7: 007 | 1x2x1.5mm2 | m | 1
WBS Level Code L6: 008 | A95/A
WBS Level Code L7: 008 | 1x2x1.5mm2 | m | 1
WBS Level Code L6: 009 | A97/A
WBS Level Code L7: 009 | 1x2x1.5mm2 | m | 1
WBS Level Code L5: 821 | Supply & Install Instrumentation Electrical Cables
WBS Level Code L6: 001 | C10
WBS Level Code L7: 001 | 2x2.5mm2 | m | 1
WBS Level Code L6: 002 | C11
WBS Level Code L7: 002 | 7x2.5mm2 | m | 1
WBS Level Code L6: 003 | C21
WBS Level Code L7: 003 | 3x2.5mm2 | m | 1
WBS Level Code L6: 004 | C21A
WBS Level Code L7: 004 | 3x2.5mm2 | m | 1
WBS Level Code L5: 822 | Supply & Install Fibre Optic Cables
WBS Level Code L6: 001 | FO1/6
WBS Level Code L7: 001 | 10 micron , 6FO core | m | 1
WBS Level Code L6: 002 | FO1/10
WBS Level Code L7: 002 | 10 micron , 10FO core | m | 1
WBS Level Code L6: 003 | FO1/48
WBS Level Code L7: 003 | 10 micron , 48FO core | m | 1
WBS Level Code L6: 004 | FO1/96
WBS Level Code L7: 004 | 10 micron , 48FO core | m | 1
WBS Level Code L5: 823 | Supply & Install Cables for Generator Interface & Gas Detector
WBS Level Code L6: 001 | K06
WBS Level Code L7: 001 | 10x3x1.5mm2 | m | 1
WBS Level Code L6: 002 | K08
WBS Level Code L7: 002 | 10x3x1.5mm2 | m | 1
WBS Level Code L6: 003 | K10
WBS Level Code L7: 003 | 5x3x1.5mm2 | m | 1
WBS Level Code L6: 004 | K26
WBS Level Code L7: 004 | 5x3x1.5mm2 | m | 1
WBS Level Code L5: 824 | Supply & Install Instrument Signal Cables for Vibration Probes
WBS Level Code L6: 001 | K13
WBS Level Code L7: 001 | 10x2x0.5mm2 | m | 1
WBS Level Code L6: 002 | K15
WBS Level Code L7: 002 | 10x2x1.5mm2 | m | 1
WBS Level Code L5: 825 | Vendor Cables
WBS Level Code L6: 001 | Supply & Install Vendor Cables
WBS Level Code L7: 001 | Special Vendor Cables | m | 1
INSTRUMENT CABLE TERMINATION
WBS Level Code L5: 826 | Termination of Instrument Signal Cables including Testing
WBS Level Code L6: 001 | A81
WBS Level Code L7: 001 | 2x2x2.5mm2 | no | 1
WBS Level Code L6: 002 | A85
WBS Level Code L7: 002 | 1x2x1.5mm2 | no | 1
WBS Level Code L6: 003 | A87
WBS Level Code L7: 003 | 1x2x1.5mm2 | no | 1
WBS Level Code L6: 004 | A91/A
WBS Level Code L7: 004 | 2x2x2.5mm2 | no | 1
WBS Level Code L6: 005 | A92/A
WBS Level Code L7: 005 | 1x2x1.5mm2 | no | 1
WBS Level Code L6: 006 | A93/A
WBS Level Code L7: 006 | 1x2x1.5mm2 | no | 1
WBS Level Code L6: 007 | A94/A
WBS Level Code L7: 007 | 1x2x1.5mm2 | no | 1
WBS Level Code L6: 008 | A95/A
WBS Level Code L7: 008 | 1x2x1.5mm2 | no | 1
WBS Level Code L6: 009 | A97/A
WBS Level Code L7: 009 | 1x2x1.5mm2 | no | 1
WBS Level Code L5: 827 | Termination of Instrumentation Electrical Cables including Testing
WBS Level Code L6: 001 | C10
WBS Level Code L7: 001 | 2x2.5mm2 | no | 1
WBS Level Code L6: 002 | C11
WBS Level Code L7: 002 | 7x2.5mm2 | no | 1
WBS Level Code L6: 003 | C21
WBS Level Code L7: 003 | 3x2.5mm2 | no | 1
WBS Level Code L6: 004 | C21A
WBS Level Code L7: 004 | 3x2.5mm2 | no | 1
WBS Level Code L5: 828 | Termination of Fibre Optic Cables including Testing
WBS Level Code L6: 001 | F01/6
WBS Level Code L7: 001 | 10 micron , 6FO core | no | 1
WBS Level Code L6: 002 | F01/10
WBS Level Code L7: 002 | 10 micron , 10FO core | no | 1
WBS Level Code L6: 003 | F01/48
WBS Level Code L7: 003 | 10 micron , 48FO core | no | 1
WBS Level Code L6: 004 | F01/96
WBS Level Code L7: 004 | 10 micron , 48FO core | no | 1
WBS Level Code L5: 829 | Termination of Generator Interface & Gas Detector including Testing
WBS Level Code L6: 001 | K06
WBS Level Code L7: 001 | 10x3x1.5mm2 | no | 1
WBS Level Code L6: 002 | K08
WBS Level Code L7: 002 | 10x3x1.5mm2 | no | 1
WBS Level Code L6: 003 | K10
WBS Level Code L7: 003 | 5x3x1.5mm2 | no | 1
WBS Level Code L6: 004 | K26
WBS Level Code L7: 004 | 5x3x1.5mm2 | no | 1
WBS Level Code L5: 830 | Termination of Instrument Signal Cables for Vibration Probes including Testing
WBS Level Code L6: 001 | K13
WBS Level Code L7: 001 | 10x2x0.5mm2 | no | 1
WBS Level Code L6: 002 | K15
WBS Level Code L7: 002 | 10x2x1.5mm2 | no | 1
WBS Level Code L5: 831 | Termination of Vendor Cables including Testing
WBS Level Code L6: 001 | Vendor Cables
WBS Level Code L7: 001 | Special Vendor Cables | no | 1
INSTRUMENT CABLE GLANDS
WBS Level Code L5: 832 | Glands-Instrument Signal Cables
WBS Level Code L6: 001 | A81
WBS Level Code L7: 001 | 2x2x2.5mm2 | no | 1
WBS Level Code L6: 002 | A85
WBS Level Code L7: 002 | 1x2x1.5mm2 | no | 1
WBS Level Code L6: 003 | A87
WBS Level Code L7: 003 | 1x2x1.5mm2 | no | 1
WBS Level Code L6: 004 | A91/A
WBS Level Code L7: 004 | 2x2x2.5mm2 | no | 1
WBS Level Code L6: 005 | A92/A
WBS Level Code L7: 005 | 1x2x1.5mm2 | no | 1
WBS Level Code L6: 006 | A93/A
WBS Level Code L7: 006 | 1x2x1.5mm2 | no | 1
WBS Level Code L6: 007 | A94/A
WBS Level Code L7: 007 | 1x2x1.5mm2 | no | 1
WBS Level Code L6: 008 | A95/A
WBS Level Code L7: 008 | 1x2x1.5mm2 | no | 1
WBS Level Code L6: 009 | A97/A
WBS Level Code L7: 009 | 1x2x1.5mm2 | no | 1
WBS Level Code L5: 833 | Glands - Instrumentation Electrical Cables
WBS Level Code L6: 001 | C10
WBS Level Code L7: 001 | 2x2.5mm2 | no | 1
WBS Level Code L6: 002 | C11
WBS Level Code L7: 002 | 7x2.5mm2 | no | 1
WBS Level Code L6: 003 | C21
WBS Level Code L7: 003 | 3x2.5mm2 | no | 1
WBS Level Code L6: 004 | C21A
WBS Level Code L7: 004 | 3x2.5mm2 | no | 1
WBS Level Code L5: 834 | Glands - Fibre Optic Cables
WBS Level Code L6: 001 | F01/6
WBS Level Code L7: 001 | 10 micron , 6FO core | no | 1
WBS Level Code L6: 002 | F01/10
WBS Level Code L7: 002 | 10 micron , 10FO core | no | 1
WBS Level Code L6: 003 | F01/48
WBS Level Code L7: 003 | 10 micron , 48FO core | no | 1
WBS Level Code L6: 004 | F01/96
WBS Level Code L7: 004 | 10 micron , 48FO core | no | 1
WBS Level Code L5: 835 | Glands - Generator Interface & Gas Detector
WBS Level Code L6: 001 | K06
WBS Level Code L7: 001 | 10x3x1.5mm2 | no | 1
WBS Level Code L6: 002 | K08
WBS Level Code L7: 002 | 10x3x1.5mm2 | no | 1
WBS Level Code L6: 003 | K10
WBS Level Code L7: 003 | 5x3x1.5mm2 | no | 1
WBS Level Code L6: 004 | K26
WBS Level Code L7: 004 | 5x3x1.5mm2 | no | 1
WBS Level Code L5: 836 | Glands - Instrument Signal Cables for Vibration Probes
WBS Level Code L6: 001 | K13
WBS Level Code L7: 001 | 10x2x0.5mm2 | no | 1
WBS Level Code L6: 002 | K15
WBS Level Code L7: 002 | 10x2x1.5mm2 | no | 1
WBS Level Code L5: 837 | Glands Vendor Cables
WBS Level Code L6: 001; WBS Level Code L7: 001 | Vendor Cables
WBS Level Code L7: 001 | Special Vendor Cables | no | 1
TELECOMMUNICATION CABLES | bar: WBS Level Code L3
WBS Level Code L4: T01 | ANY MATERIAL - CONTRACTOR TO IDENTIFY
WBS Level Code L5: 850 | Supply & Install Fiber Optic Cables
WBS Level Code L6: 001 | CAT 6
WBS Level Code L7: 001 | 4x2x0.5mm2 | m | 1
WBS Level Code L7: 002 | Vendor Communication cables | m | 1
WBS Level Code L5: 851 | Termination including testing of Fibre Optic Cables
WBS Level Code L6: 001 | CAT 6
WBS Level Code L7: 001 | 4x2x0.5mm2 | no | 1
WBS Level Code L7: 002 | Vendor Communication cables | no | 1
WBS Level Code L5: 852 | Glands - Fibre Optic Cables
WBS Level Code L6: 001 | CAT 6
WBS Level Code L7: 001 | 4x2x0.5mm2 | no | 1
WBS Level Code L7: 002 | Vendor Communication cables | no | 1
WBS Level Code L5: 860 | EARTHING CABLES
WBS Level Code L6: 001 | Supply & Install EARTHING CABLES on cable support system
WBS Level Code L7: 006 | 1 core, 6mm2 | m | 1
WBS Level Code L7: 025 | 1 core, 25mm2 | m | 1
WBS Level Code L7: 032 | 1 core, 32mm2 | m | 1
WBS Level Code L7: 050 | 1 core, 50mm2 | m | 1
WBS Level Code L7: 070 | 1core, 70mm2 | m | 1
WBS Level Code L7: 120 | 1core, 120mm2 | m | 1
WBS Level Code L7: 240 | 1 core, 240mm2 | m | 1
WBS Level Code L6: 002 | Earthing Cable Termination including recovery, uncoiling, testing, marking, cable lugs
WBS Level Code L7: 006 | 1 core, 6mm2 | no | 1
WBS Level Code L7: 025 | 1 core, 25mm2 | no | 1
WBS Level Code L7: 032 | 1 core, 32mm2 | no | 1
WBS Level Code L7: 050 | 1 core, 50mm2 | no | 1
WBS Level Code L7: 070 | 1core, 70mm2 | no | 1
WBS Level Code L7: 120 | 1core, 120mm2 | no | 1
WBS Level Code L7: 240 | 1 core, 240mm2 | no | 1
WBS Level Code L6: 003 | Earthing Cable Glands
WBS Level Code L7: 006 | 1 core, 6mm2 | no | 1
WBS Level Code L7: 025 | 1 core, 25mm2 | no | 1
WBS Level Code L7: 032 | 1 core, 32mm2 | no | 1
WBS Level Code L7: 050 | 1 core, 50mm2 | no | 1
WBS Level Code L7: 070 | 1core, 70mm2 | no | 1
WBS Level Code L7: 120 | 1core, 120mm2 | no | 1
WBS Level Code L7: 240 | 1 core, 240mm2 | no | 1
WBS Level Code L6: 004 | Supply & Install Crimped Earth Branch Connections
WBS Level Code L7: 001 | 50mm2 to 50mm2 | no | 1
WBS Level Code L7: 002 | 70mm2 to 50mm2 | no | 1
WBS Level Code L7: 003 | 70mm2 to 70mm2 | no | 1
WBS Level Code L7: 004 | 240mm2 to 240mm2 | no | 1
WBS Level Code L4: E02 | GALVANISE
WBS Level Code L5: 870 | CABLE TRAY, LADDER & SUPPORTS
WBS Level Code L6: 001 | Supply & Install Cable Tray complete with any type of supports, unistruts, notches, stop ends, offsets, reducer, fixing, fastening, fixtures, brackets, cutting, coupling, earth continuity straps and the like
WBS Level Code L7: 075 | 75mm wide | m | 1
WBS Level Code L7: 100 | 100mm wide | m | 1
WBS Level Code L7: 150 | 150mm wide | m | 1
WBS Level Code L7: 200 | 200mm wide | m | 1
WBS Level Code L7: 300 | 300mm wide | m | 1
WBS Level Code L7: 450 | 450mm wide | m | 1
WBS Level Code L7: 600 | 600mm wide | m | 1
WBS Level Code L7: 750 | 750mm wide | m | 1
WBS Level Code L7: 900 | 900mm wide | m | 1
WBS Level Code L6: 002 | Supply & Install Cable Tray Cover complete with notches, stop ends, offsets, reducer, fixing, fastening, fixtures, brackets, cutting, coupling, earth continuity straps and the like
WBS Level Code L7: 075 | 75mm wide | m | 1
WBS Level Code L7: 100 | 100mm wide | m | 1
WBS Level Code L7: 150 | 150mm wide | m | 1
WBS Level Code L7: 200 | 200mm wide | m | 1
WBS Level Code L7: 300 | 300mm wide | m | 1
WBS Level Code L7: 450 | 450mm wide | m | 1
WBS Level Code L7: 600 | 600mm wide | m | 1
WBS Level Code L7: 750 | 750mm wide | m | 1
WBS Level Code L7: 900 | 900mm wide | m | 1
WBS Level Code L6: 003 | Supply & Install Tees or Cross complete with necessary fixing, fastening, fixtures and the like.
WBS Level Code L7: 075 | 75mm wide | no | 1
WBS Level Code L7: 100 | 100mm wide | no | 1
WBS Level Code L7: 150 | 150mm wide | no | 1
WBS Level Code L7: 200 | 200mm wide | no | 1
WBS Level Code L7: 300 | 300mm wide | no | 1
WBS Level Code L7: 450 | 450mm wide | no | 1
WBS Level Code L7: 600 | 600mm wide | no | 1
WBS Level Code L7: 750 | 750mm wide | no | 1
WBS Level Code L7: 900 | 900mm wide | no | 1
WBS Level Code L6: 004 | Supply & Install 45 or 90 degrees Bends or Riser complete with necessary fixing, fastening, fixtures and the like
WBS Level Code L7: 075 | 75mm wide | no | 1
WBS Level Code L7: 100 | 100mm wide | no | 1
WBS Level Code L7: 150 | 150mm wide | no | 1
WBS Level Code L7: 200 | 200mm wide | no | 1
WBS Level Code L7: 300 | 300mm wide | no | 1
WBS Level Code L7: 450 | 450mm wide | no | 1
WBS Level Code L7: 600 | 600mm wide | no | 1
WBS Level Code L7: 750 | 750mm wide | no | 1
WBS Level Code L7: 900 | 900mm wide | no | 1
WBS Level Code L6: 005 | Supply & Install Cable Ladder complete with any type of supports, unistruts, notches, stop ends, offsets, reducer, fixing, fastening, fixtures, brackets, cutting, coupling, earth continuity straps and the like
WBS Level Code L7: 075 | 75mm wide | m | 1
WBS Level Code L7: 100 | 100mm wide | m | 1
WBS Level Code L7: 150 | 150mm wide | m | 1
WBS Level Code L7: 200 | 200mm wide | m | 1
WBS Level Code L7: 300 | 300mm wide | m | 1
WBS Level Code L7: 450 | 450mm wide | m | 1
WBS Level Code L7: 600 | 600mm wide | m | 1
WBS Level Code L7: 750 | 750mm wide | m | 1
WBS Level Code L7: 900 | 900mm wide | m | 1
WBS Level Code L6: 006 | Supply & Install Cable Ladder cover complete with stop ends, offsets, reducer, fixing, fastening, fixtures, brackets, cutting, coupling, earth continuity straps and the like
WBS Level Code L7: 075 | 75mm wide | m | 1
WBS Level Code L7: 100 | 100mm wide | m | 1
WBS Level Code L7: 150 | 150mm wide | m | 1
WBS Level Code L7: 200 | 200mm wide | m | 1
WBS Level Code L7: 300 | 300mm wide | m | 1
WBS Level Code L7: 450 | 450mm wide | m | 1
WBS Level Code L7: 600 | 600mm wide | m | 1
WBS Level Code L7: 750 | 750mm wide | m | 1
WBS Level Code L7: 900 | 900mm wide | m | 1
WBS Level Code L6: 007 | Supply & Install Tees or Cross complete with necessary fixing, fastening, fixtures and the like.
WBS Level Code L7: 075 | 75mm wide | no | 1
WBS Level Code L7: 100 | 100mm wide | no | 1
WBS Level Code L7: 150 | 150mm wide | no | 1
WBS Level Code L7: 200 | 200mm wide | no | 1
WBS Level Code L7: 300 | 300mm wide | no | 1
WBS Level Code L7: 450 | 450mm wide | no | 1
WBS Level Code L7: 600 | 600mm wide | no | 1
WBS Level Code L7: 750 | 750mm wide | no | 1
WBS Level Code L7: 900 | 900mm wide | no | 1
WBS Level Code L6: 008 | Supply & Install 45 or 90 degrees Bends or Riser complete with necessary fixing, fastening, fixtures and the like
WBS Level Code L7: 075 | 75mm wide | no | 1
WBS Level Code L7: 100 | 100mm wide | no | 1
WBS Level Code L7: 150 | 150mm wide | no | 1
WBS Level Code L7: 200 | 200mm wide | no | 1
WBS Level Code L7: 300 | 300mm wide | no | 1
WBS Level Code L7: 450 | 450mm wide | no | 1
WBS Level Code L7: 600 | 600mm wide | no | 1
WBS Level Code L7: 750 | 750mm wide | no | 1
WBS Level Code L7: 900 | 900mm wide | no | 1
WBS Level Code L4: E03 | STAINLESS STEEL
WBS Level Code L5: 870 | CABLE TRAY, LADDER & SUPPORTS
WBS Level Code L6: 001 | Supply & Install Cable Tray complete with any type of supports, unistruts, notches, stop ends, offsets, reducer, fixing, fastening, fixtures, brackets, cutting, coupling, earth continuity straps and the like
WBS Level Code L7: 075 | 75mm wide | m | 1
WBS Level Code L7: 100 | 100mm wide | m | 1
WBS Level Code L7: 150 | 150mm wide | m | 1
WBS Level Code L7: 200 | 200mm wide | m | 1
WBS Level Code L7: 300 | 300mm wide | m | 1
WBS Level Code L7: 450 | 450mm wide | m | 1
WBS Level Code L7: 600 | 600mm wide | m | 1
WBS Level Code L7: 750 | 750mm wide | m | 1
WBS Level Code L7: 900 | 900mm wide | m | 1
WBS Level Code L6: 002 | Supply & Install Cable Tray Cover complete with notches, stop ends, offsets, reducer, fixing, fastening, fixtures, brackets, cutting, coupling, earth continuity straps and the like
WBS Level Code L7: 075 | 75mm wide | m | 1
WBS Level Code L7: 100 | 100mm wide | m | 1
WBS Level Code L7: 150 | 150mm wide | m | 1
WBS Level Code L7: 200 | 200mm wide | m | 1
WBS Level Code L7: 300 | 300mm wide | m | 1
WBS Level Code L7: 450 | 450mm wide | m | 1
WBS Level Code L7: 600 | 600mm wide | m | 1
WBS Level Code L7: 750 | 750mm wide | m | 1
WBS Level Code L7: 900 | 900mm wide | m | 1
WBS Level Code L6: 003 | Supply & Install Tees or Cross complete with necessary fixing, fastening, fixtures and the like.
WBS Level Code L7: 075 | 75mm wide | no | 1
WBS Level Code L7: 100 | 100mm wide | no | 1
WBS Level Code L7: 150 | 150mm wide | no | 1
WBS Level Code L7: 200 | 200mm wide | no | 1
WBS Level Code L7: 300 | 300mm wide | no | 1
WBS Level Code L7: 450 | 450mm wide | no | 1
WBS Level Code L7: 600 | 600mm wide | no | 1
WBS Level Code L7: 750 | 750mm wide | no | 1
WBS Level Code L7: 900 | 900mm wide | no | 1
WBS Level Code L6: 004 | Supply & Install 45 or 90 degrees Bends or Riser complete with necessary fixing, fastening, fixtures and the like
WBS Level Code L7: 075 | 75mm wide | no | 1
WBS Level Code L7: 100 | 100mm wide | no | 1
WBS Level Code L7: 150 | 150mm wide | no | 1
WBS Level Code L7: 200 | 200mm wide | no | 1
WBS Level Code L7: 300 | 300mm wide | no | 1
WBS Level Code L7: 450 | 450mm wide | no | 1
WBS Level Code L7: 600 | 600mm wide | no | 1
WBS Level Code L7: 750 | 750mm wide | no | 1
WBS Level Code L7: 900 | 900mm wide | no | 1
WBS Level Code L6: 005 | Supply & Install Cable Ladder complete with any type of supports, unistruts, notches, stop ends, offsets, reducer, fixing, fastening, fixtures, brackets, cutting, coupling, earth continuity straps and the like
WBS Level Code L7: 075 | 75mm wide | m | 1
WBS Level Code L7: 100 | 100mm wide | m | 1
WBS Level Code L7: 150 | 150mm wide | m | 1
WBS Level Code L7: 200 | 200mm wide | m | 1
WBS Level Code L7: 300 | 300mm wide | m | 1
WBS Level Code L7: 450 | 450mm wide | m | 1
WBS Level Code L7: 600 | 600mm wide | m | 1
WBS Level Code L7: 750 | 750mm wide | m | 1
WBS Level Code L7: 900 | 900mm wide | m | 1
WBS Level Code L6: 006 | Supply & Install Cable Ladder cover complete with stop ends, offsets, reducer, fixing, fastening, fixtures, brackets, cutting, coupling, earth continuity straps and the like
WBS Level Code L7: 075 | 75mm wide | m | 1
WBS Level Code L7: 100 | 100mm wide | m | 1
WBS Level Code L7: 150 | 150mm wide | m | 1
WBS Level Code L7: 200 | 200mm wide | m | 1
WBS Level Code L7: 300 | 300mm wide | m | 1
WBS Level Code L7: 450 | 450mm wide | m | 1
WBS Level Code L7: 600 | 600mm wide | m | 1
WBS Level Code L7: 750 | 750mm wide | m | 1
WBS Level Code L7: 900 | 900mm wide | m | 1
WBS Level Code L6: 007 | Supply & Install Tees or Cross complete with necessary fixing, fastening, fixtures and the like.
WBS Level Code L7: 075 | 75mm wide | no | 1
WBS Level Code L7: 100 | 100mm wide | no | 1
WBS Level Code L7: 150 | 150mm wide | no | 1
WBS Level Code L7: 200 | 200mm wide | no | 1
WBS Level Code L7: 300 | 300mm wide | no | 1
WBS Level Code L7: 450 | 450mm wide | no | 1
WBS Level Code L7: 600 | 600mm wide | no | 1
WBS Level Code L7: 750 | 750mm wide | no | 1
WBS Level Code L7: 900 | 900mm wide | no | 1
WBS Level Code L6: 008 | Supply & Install 45 or 90 degrees Bends or Riser complete with necessary fixing, fastening, fixtures and the like
WBS Level Code L7: 075 | 75mm wide | no | 1
WBS Level Code L7: 100 | 100mm wide | no | 1
WBS Level Code L7: 150 | 150mm wide | no | 1
WBS Level Code L7: 200 | 200mm wide | no | 1
WBS Level Code L7: 300 | 300mm wide | no | 1
WBS Level Code L7: 450 | 450mm wide | no | 1
WBS Level Code L7: 600 | 600mm wide | no | 1
WBS Level Code L7: 750 | 750mm wide | no | 1
WBS Level Code L7: 900 | 900mm wide | no | 1
WBS Level Code L6: 009 | Supply & Install Cable Ladder vertically on Equipment, Vessels and Tank complete with necessary fixing, fastening, fixtures and the like
WBS Level Code L7: 075 | 75mm wide | m | 1
WBS Level Code L7: 100 | 100mm wide | m | 1
WBS Level Code L7: 150 | 150mm wide | m | 1
WBS Level Code L7: 200 | 200mm wide | m | 1
WBS Level Code L7: 300 | 300mm wide | m | 1
WBS Level Code L7: 450 | 450mm wide | m | 1
WBS Level Code L7: 600 | 600mm wide | m | 1
WBS Level Code L7: 750 | 750mm wide | m | 1
WBS Level Code L7: 900 | 900mm wide | m | 1
WBS Level Code L4: E02 | GALVANISE
WBS Level Code L5: 880 | CONDUITS
WBS Level Code L6: 001 | Conduits - Supply & Install including any necessary supports, brackets, bushing, fittings, fastening andfixtures
WBS Level Code L7: 020 | 20mm diametre | m | 1
WBS Level Code L7: 025 | 25mm diametre | m | 1
WBS Level Code L7: 032 | 32mm diametre | m | 1
WBS Level Code L7: 050 | 50mm diametre | m | 1
WBS Level Code L7: 075 | 75mm diametre | m | 1
WBS Level Code L7: 100 | 100mm diameter | m | 1
WBS Level Code L7: 150 | 150mm diametre | m | 1
WBS Level Code L5: 890 | GENERAL EQUIPMENT, LIGHTING, HEAT TRACING SYSTEM, LABEL, TAG & OTHER ITEMS
WBS Level Code L6: 001 | General Equipment including installation of mounting plates, supports, stands, brackets, fitting and fastening
WBS Level Code L7: 001 | RCU/Safety Switch | no | 1
WBS Level Code L7: 002 | Junction Box Control | no | 1
WBS Level Code L7: 003 | Junction Box Lighting | no | 1
WBS Level Code L7: 004 | Junction Box Power | no | 1
WBS Level Code L7: 005 | Single Phase Socket Outlet | no | 1
WBS Level Code L7: 006 | Three Phase Socket Outlet | no | 1
WBS Level Code L7: 007 | CCTV Camera Support Mounted | no | 1
WBS Level Code L7: 008 | CCTV Monitor Wall Mounted | no | 1
WBS Level Code L7: 009 | Telephone Wall Socket | no | 1
WBS Level Code L7: 010 | UHF Antenna | no | 1
WBS Level Code L7: 011 | Isolator | no | 1
WBS Level Code L7: 012 | 2 RCU Control Station Support Post | no | 1
WBS Level Code L7: 013 | 3 RCU Control Station Support Post | no | 1
WBS Level Code L7: 014 | Earth Bar | no | 1
WBS Level Code L7: 015 | Earth Connection Point | no | 1
WBS Level Code L7: 016 | CCTV Junction Box Pole base mounted | no | 1
WBS Level Code L7: 017 | CCTV Junction Box Pole top mounted | no | 1
WBS Level Code L7: 018 | Fix Camera Pole mounted | no | 1
WBS Level Code L7: 019 | PTZ Camera Pole mounted | no | 1
WBS Level Code L7: 020 | CCTV Cabinet Floor Mounted 800x2100x800mm | no | 1
WBS Level Code L7: 021 | VSAT Antenna | no | 1
WBS Level Code L7: 022 | UHF Antenna | no | 1
WBS Level Code L7: 023 | UHF Cabinet Floor Mounted 800x2100x800mm | no | 1
WBS Level Code L7: 024 | Miscellanesou System Cabinet Floor Mounted 800x2100mmx800mm | no | 1
WBS Level Code L7: 025 | Instrument System Cabinet | no | 1
WBS Level Code L7: 026 | Earth Tag | no | 1
WBS Level Code L7: 027 | Earth Bosses | no | 1
WBS Level Code L6: 002 | Supply & Install General Lighting complete with all necessary supports, fittings, fixing, fixtures and the like
WBS Level Code L7: 001 | Handrail Mounted | no | 1
WBS Level Code L7: 002 | Pole Mounted | no | 1
WBS Level Code L7: 003 | Support Mounted | no | 1
WBS Level Code L7: 004 | Flood Lights | no | 1
WBS Level Code L7: 005 | Emergency Lighting support mounted | no | 1
WBS Level Code L7: 006 | 3 Metre Light Pole | no | 1
WBS Level Code L7: 007 | 6 Metre Light Pole | no | 1
WBS Level Code L6: 003 | Supply & Install Earth Marshalling Bar
WBS Level Code L7: 001 | Copper Earth Bar 50mm x 6mm | m | 1
WBS Level Code L7: 002 | Copper Earth Bar 75mm x 6mm | m | 1
WBS Level Code L6: 004 | Supply & Install Heat Tracing System - Contractor to identify the specific type of material in accordance with the Project Specification
WBS Level Code L7: 001 | Caution Label
WBS Level Code L7: 002 | Control Thermostat | no | 1
WBS Level Code L7: 003 | Fibre Glass Fixing Tape | no | 1
WBS Level Code L7: 004 | Junction Box for end termination of heater cable | no | 1
WBS Level Code L7: 005 | Junction Box for power connection of heater cable | no | 1
WBS Level Code L7: 006 | Junction Box for tee splice of heater cable | no | 1
WBS Level Code L7: 007 | Self Regulating heater cable | no | 1
WBS Level Code L7: 008 | Termination Kit | no | 1
WBS Level Code L7: 009 | Thermostat support bracket | no | 1
WBS Level Code L7: 010 | Label | no | 1
WBS Level Code L6: 005 | Supply & Install labels and tags complete with necessary brackets, fittings, fastening and fixtures
WBS Level Code L7: 001 | Equipment Tag and Label | no | 1
WBS Level Code L7: 002 | Instrument Tag and Label | no | 1
Supply And Installation Of Sign Face; 'Entry Sign'